| Tariff levels for Renewable Heat Incentives |
| --- |
| Technology | Scale | Tariffs (pence/kWh | Tariff lifetime (years) |
| Small installations |
| Solid biomass | Up to 45kW | 9 | 15 |
| Biodiesel | Up to 45kW | 6.5 | 15 |
| Biogas on-site combustion | Up to 45kW | 5.5 | 10 |
| Ground source heat pumps | Up to 45kW | 7 | 23 |
| Air source heat pumps | Up to 45kW | 7.5 | 18 |
| Solar thermal | Up to 20kW | 18 | 20 |
| Medium installations |
| Solid biomass | 45kW-500kW | 6.5 | 15 |
| Biogas on-soite combustion | 45kW-200kW | 5.5 | 10 |
| Ground source heat pumps | 45kW-350kW | 5.5 | 20 |
| Air source heat pumps | 45kW-350kW | 2 | 20 |
| Solar thermal | 20kW-100kW | 17 | 20 |
| Large installations |
| Solid biomass | 500kW and above | 1.6 -2.5 | 15 |
| Ground source heat pumps | 350kW and above | 1.5 | 20 |
| Biomethane injection | All scales | 4 | 15 |